## Slide 1
Service Availability, Maintenance & Documentation

## Slide 2
What is an SLA? A formal agreement defining the expected level of service.
Establishes measurable service objectives.
Defines availability, response time, maintenance, and support commitments.
Helps manage expectations between service providers and users.
Service Level Agreement (SLA)

## Slide 3
Service Description
Defines the service covered by the agreement.
Service Availability
Specifies the expected uptime.
Response Time
Defines how quickly support begins.
Resolution Time
Defines how quickly an issue should be resolved.
Maintenance Schedule
Defines planned maintenance windows.
Roles & Responsibilities
Defines responsibilities of providers and users.
Key SLA Components

## Slide 4
SLA metrics provide measurable evidence of service quality.
Service availability / uptime
Incident response time
Resolution time
Number of service interruptions
Server performance
User satisfaction
SLA Metrics

## Slide 5
Outage A period when a server or service becomes unavailable or fails to perform its intended function.
Outage Management A systematic process for detecting, assessing, restoring, verifying, and documenting service interruptions.
Goal Minimize downtime and business disruption.
What is Outage Management?

## Slide 6
Planned Outage
Scheduled maintenance.
Unplanned Outage
Unexpected failure.
Partial Outage
Only some services or users are affected.
Complete Outage
Entire server or critical services are unavailable.
Types of Outages

## Slide 7
Hardware failure
Operating system or application failure
Network problems
Power interruption
Configuration errors
Software bugs
Cyberattacks
Human error
Common Causes of Outages

## Slide 8
Detect
Assess
Root Cause
Identify the root cause
Restore
Restore the service
Verify
Verify System operation
Document
Document & review
Outage Management Process
Detect the Outage
Assess the Impact

## Slide 9
Definition Continuous observation and analysis of server performance.
Detect performance problems early.
Identify resource bottlenecks.
Maintain efficient server operation.
Prevent performance degradation from becoming an outage.
Performance Monitoring

## Slide 10
CPU Utilization
Memory Utilization
Disk Performance
Network Performance
Service Availability
Important Performance Metrics

## Slide 11
Identify
Critical resources
Configure
Tools and alerts
Collect
Performance data
Analyze
Compare to baselines
Correct
Take corrective action
Review
Performance trends
Performance Monitoring Process

## Slide 12
Baselines and Alerts
PERFORMANCE MONITORING
Baseline
A recorded normal level for a metric.
Alert
Automated notification when a metric crosses a threshold for a set time.
Baseline example
CPU averages 25% at 10:00 on weekdays; memory baseline before a new app deploy.
Alert example
CPU > 90% for 10 minutes → ticket or SMS; disk-space alert at 85% full.
Role: Baselines detect drift from normal; alerts trigger action before an outage.

## Slide 13
Definition: Preventive and corrective activities that keep server hardware reliable and operational.
Preventive Maintenance: Performed before failure. Reduces the risk of downtime.
Corrective Maintenance: Performed after failure. Repairs or replaces defective components.
Hardware Maintenance

## Slide 14
Hardware Health Examples:
Physical inspection
Cleaning server components
Checking cooling systems
Inspecting power components
Monitoring hardware health
Replacing faulty components
Processor temperature
Fan speed
Power supply status
Memory health
Storage condition
Hardware Maintenance Activities

## Slide 15
Maintenance records include:
• Date • Components inspected/replaced • Problems identified • Actions performed • Verification results
Plan
Inspect
Perform
Verify
Document
Hardware Maintenance Process
Perform Required Maintenance
Plan the Maintenance
Inspect the Hardware
Verify Sever Operations
Document the Maintance

## Slide 16
Definition
The ability of a system to continue operating when one or more components fail.
Main Principle
Failure of one component should not stop the entire service.
Approach
Uses redundancy to maintain service availability seamlessly.
Fault Tolerance

## Slide 17
Redundant Power Supplies
Redundant Storage
Redundant Network
Redundant Cooling
Fault-Tolerant Software
Fault-Tolerant Components

## Slide 18
Identify
Identify Critical Components
Implement
Implement Redundancy
Monitor
Monitor Component Health
Detection
Automatic Failure Detection
Replace
Replace the Failed Component
Fault Tolerance Process

## Slide 19
Primary component fails
Redundant takes over
Service continues
Fault Tolerance: Simple Concept

## Slide 20
Definition: A design approach that keeps services accessible with minimal interruption.
Goal: Keep critical services running even when failures occur.
HA Uses:
- Redundant servers
- Automatic failover
- Redundant storage & networks
- Continuous monitoring
High Availability (HA)

## Slide 21
Redundant Server
Failover Mechanism
Redundant Storage
Redundant Network Connection
Monitoring System
High Availability Components

## Slide 22
Failover Clustering vs Load Balancing
Aspect | Failover clustering | Load balancing
What it is | Group of servers (nodes) running a service | Distributes client requests across multiple healthy servers
On failure | Another node takes over automatically | Failed nodes are removed from the pool
Main benefit | Service stays available after a node fails | No single server is overloaded; spreads risk and performance
Key point: Clustering protects against node failure; load balancing protects performance and spreads risk.

## Slide 23
Identify
Critical Services
Design
Redundant Infrastructure
Configure
Automatic Failover
Monitor
System Health
Test
The HA Configuration
High Availability Process

## Slide 24
Key Point: High Availability can incorporate fault tolerance
Fault Tolerance
High Availability
Focuses on component failure.
Uses redundant components.
Component failure is handled within the system.
Focuses on overall service availability.
Uses multiple systems and failover.
Service can move to another available system.
Fault Tolerance vs High Availability

## Slide 25
Definition: Systematic process of identifying, recording, monitoring, maintaining, and controlling IT assets throughout their lifecycle.
Assets Types:
- Hardware Assets
- Software Assets
- Network Assets
- Information Assets
Asset Management

## Slide 26
Asset ID
Manufacturer and model
Serial number
Purchase date
Installation date
Physical location
Assigned admin/dept
Warranty period
Operational status
Asset Information

## Slide 27
Identify
Identify the Asset
Record
Record Asset Information
Monitor
Monitor Asset Status
Maintenance
Perform Maintenance and Updates
Retire
Retire or Replace the Asset
Asset Management Process

## Slide 28
At each stage:
Track the asset Update records Monitor condition Maintain security Plan replacement
Acquisition
Deployment
Operational Use
Maintenance
Retirement
Asset Lifecycle

## Slide 29
Definition: The process of creating, organizing, and maintaining records about the server environment.
Helps Administrators: Install, Configure, Troubleshoot, Perform maintenance, Recover, and Plan upgrades.
Key Principle: Documentation should be maintained as a living record and updated when infrastructure changes.
Infrastructure Documentation

## Slide 30
SYSTEM ADMINISTRATION
Types of Documentation & the Process
MAJOR TYPES
Hardware
Servers, CPU, RAM
Storage & RAID
NICs, rack & warranty
Network
IPs & VLANs
Switches, routers, firewalls
DNS & topology
Server Config
OS & server roles
Services
Storage & security
Software
Versions & licenses
Vendors
Updates & compatibility
Maintenance
Repairs & patches
Firmware updates
Replacements
Administrative
SOPs
Backup / recovery
Change management
DOCUMENTATION PROCESS
Identify
Collect
Organize
Update
Review
Trainer’s Handout — Infrastructure Documentation
2

## Slide 31
Runbooks and Infrastructure Documentation
INFRASTRUCTURE DOCUMENTATION · TYPES
Network diagrams
Show topology: switches, routers, firewalls, IPs and VLANs.
Configuration records
Record how each server is set up: OS, roles, services, storage.
Runbooks
Step-by-step procedures for routine and emergency tasks: failover, restore, restart a service, verify a patch.
Key point: Diagrams and records show what exists; runbooks tell administrators how to act.

## Slide 32
Goal: Maintain an accurate picture of the current infrastructure.
Hardware specs & Network config
IP addressing & Server roles
OS versions & Storage layouts
Maintenance records & Licenses
What Should Be Documented?

## Slide 33
Identify
Identify Information to be Documented
Collect
Collect Technical Information
Organize
Organize the Documentation
Maintenance
Maintain and Update Documentation
Review
Review Documentation Regularly
Asset Management Process
STORAGE

## Slide 34
Why Protect? Infrastructure documents may contain sensitive technical information.
Store documents in controlled locations.
Restrict access to authorized personnel.
Protecting Confidential Information
Keep appropriate backup copies and protect them during failures.
Key Principle: Documentation must be available when needed but protected from unauthorized access.
Secure Documentation Storage
Methods
Monitor Documentation Access

## Slide 35
SYSTEM ADMINISTRATION · SECURITY
Importance, Best Practices & Example
Importance
Protects valuable organizational technical knowledge
Supports business continuity and disaster recovery
Reduces information leakage and unauthorized disclosure
Improves security and supports compliance requirements
Ensures admins can quickly access info during emergencies
Best Practices
Use centralized and secure repositories
Apply minimum necessary access permissions
Update documentation after infrastructure changes
Back up documentation regularly
Monitor access and investigate unusual activity
Review permissions and security controls periodically
Keep documentation available to authorized recovery teams
EXAMPLE
A financial organization stores network diagrams, firewall configurations, server inventories, backup procedures, and disaster recovery plans in a centralized repository.
Access limited to authorized administrators
Changes recorded with user and timestamp
Automatic nightly backups protect against loss
Fast document retrieval during server failure
Trainer’s Handout — Secure Documentation Storage
3

## Slide 36
Identify
Identify Sensitive Documentation
Classify
Classify and Organize Documentation
Access Control
Apply Appropriate Access Controls
Backup
Protect and Back Up Documentation
Review
Review and Maintain Documentation Security
Process of Secure Documentation Storage

## Slide 37
Lifecycle Planning: Putting It Together
Performance monitoring
Shows capacity and failure trends; signals the need for an upgrade.
Asset management
Tracks age, warranty, location and status; supports replacement planning.
Hardware maintenance
Extends life and records failures; shows which assets to retire.
Evidence from all three
Refresh or Expand or Decommission
Key point: Lifecycle decisions are made on evidence, not guesswork.
Decision

## Slide 38
SLA: Defines service expectations.
Performance Monitoring: Detects performance problems.
Hardware Maintenance: Prevents hardware failures.
Fault Tolerance: Handles component failures.
High Availability: Maintains service availability.
Outage Management: Restores services after incidents.
Asset & Infrastructure Documentation: Provides accurate operational information.
Relationship Between All Topics